Summary of results of investigation into complaints about lecturing venues

Background

During late 2009, during consultations around the use of a teaching portfolio for promotion, it emerged that lecturers believed that some venues militated against good teaching for a variety of reasons. In consultation between the Directors of Education Innovation, ITS, Facilities and Student Administration, it was decided to launch an audit of venues. The reason for this wide representation of Directors from the support services was that different departments are responsible for difference aspects of the custodianship of lecturing venues:

ITS:	Functionality of teaching and learning technology and input into design of new lecturing venues.

Facilities:	Structural issues including maintenance, seating, lighting, air-conditioning and electricity and input into design of new lecturing venues.

Student Administration:	Allocation of lecturing venues and input into design of new lecturing venues.

Education Innovation:	Input into design and technology requirements of new lecturing venues and training in use of technology.

A checklist was compiled and lecturers invited to submit complaints about specific venues to the group of Directors. In addition to the closed items, lecturers were also invited to add other comments. Below is a summary of the results, indicating the closed categories and any lecturer remarks in italics. In red below these data are the outcomes of a discussion by members of the four involved departments on 15 January.

It should also be noted that lecturers might not always be aware of the channels for reporting problems in venues. In every venue the numbers of ITS and Facilities are displayed. This should be drawn to the attention of lecturers and they should be encouraged to report problems immediately so that they do not become frustrated.

The patterns of problems in the Human Sciences and Engineering buildings will be resolved during the cyclical upgrade of these buildings in 2010.

Summary

|  | Venue | Problem(s) |
| --- | --- | --- |
| 1 | A E du Toit | Placement of projection surface Visibility of writing/ projection surfaces Lighting in the hall with overhead projector is very bright. Or the overhead projector light is not too strong and it gets dim when projected on the wall surface. Focus of the projector is poor several times. Microphone also has given me problem many times. Probleme met oorhoofse- projectors Klankstelsel Swak beligting veral agter in lokaal a g v ligte wat nie werk nie. Mikrofoon DIKWELS nie in werkende kondisie – battery pap. During December 2009 a new projector was installed and a larger projection surface created. A new overhead camera was installed so lecturers who come prepared with printed slides have back up technology. Lights have been repaired. WL to investigate justification for modern light upgrade. |
| 2 | All purpose, B105.5 | Projection system and size of image/ placement of digital projector Availability of equipment (laptops) Lindi Scott of ITS or a member of her staff will consult with the client to ascertain the exact nature of the problem. |
| 3 | Big Chemistry Hall | Issues with overhead projectors Ventilation/ air-conditioning Noise Acoustics Sound system Student seating I experienced the venue to be a horrible physical space for teaching and learning (even though there were only a handful of the 350 students that had to be present) The air-conditioning (which is working perfectly well) is creating a terrible buzzing noise throughout. There is a sound system available (which is also functioning), but the voice coming over it is hollow and resonating. All-in-all the auditory experience of that lecture was not a good one for me. IT and Facilities are in the process of upgrading this facility. |
| 4 | CEFIM Auditorium | Ventilation/ air-conditioning The aircon is overly automated and the manual control does not seem to allow for control; at times a manual over-ride is desired. This facility is in the process of being upgraded. HVAC budgeted for 2010 |
| 5 | Centenary 1 | Sound system Microphone screeches and makes very loud noise whenever switched on, distorts voice completely. ITS investigated and resolved this issue. |
| 6 | Centenary 4 | Projection system and size of image/ placement of digital projector Visibility of writing/ projection surfaces Lighting and windows Noise Acoustics Sound system Compatibility of equipment Please note that I lectured in Centenary 4 from Feb to March and some of these issues may already have been addressed in the meantime. There are design issues around this venue which cannot be resolved. First, it was designed for a single projection surface but some lecturers would prefer two projection surfaces. Lindi Scott of ITS or a member of her staff will consult with the client to ascertain what can be done. Second, Facilities is attempting to resolve the noise issue. If the doors are left open, the noise from outside is problematic. Doors must be kept closed. The first solution being applied is the installation of more effective door seals. If that does not work, a system of double doors will be investigated. Signage about silence has also been installed outside the venue. |
| 7 | Communication Pathology Therapy rooms | Urgently needs follow up on which tasks have been completed and which not, need to know how systems work. Ongoing jobs have not been completed. Lindi Scott of ITS or a member of her staff will consult with the client. Only 4 job cards open at FM, all less than 2 weeks old. |
| 8 | Conference Centre SRC room | Ventilation/ air-conditioning Temperature settings are regularly such that students complain. When a change in the setting is requested an outside contractor is tasked to change the setting. By the time the setting has been changed the weather has also changed and the new setting causes an uncomfortable temperature in the room. All Conference Centre venues are being upgraded and the work should be complete before the end of January. |
| 9 | EMS 4.150 | Studente sitplekke Het olie nodig. Die geraas gedurende klas is steurend Maintenance will be alerted by this movable seats remain a design problem in some of the older venues. Oil is not a solution as it is the springs that squeak. |
| 10 | Engineering 2.37 | Projection system and size of image/ placement of digital projector Quality of projection surface Placement of projection surface Issues with overhead projectors Visibility of writing/ projection surfaces Ventilation/ air-conditioning Student seating The Engineering buildings are targeted for cyclical upgrading in 2010. However, most of the work can only be done during university holidays. The upgrading will start in June but will take longer than four or five weeks and will probably only be completed in December 2010. Student Administration will ensure the venues are not booked for the June/ July holiday to enable the maximum amount of work to be done. HVAC functioning well. Overload due to increase in students. WL to investigate upgrade. |
| 11 | Engineering 3.40 | Projection system and size of image/ placement of digital projector Quality of projection surface Placement of projection surface Issues with overhead projectors Visibility of writing/ projection surfaces Ventilation/ air-conditioning Student seating See above |
| 12 | Engineering 4.38 | Projection system and size of image/ placement of digital projector Quality of projection surface Placement of projection surface Issues with overhead projectors Visibility of writing/ projection surfaces Ventilation/ air-conditioning Student seating See above |
| 13 | Engineering II 2.27 | The venues have a data projector however the safe has a manual key instead of a digital lock. Perhaps the digital locks need to be standardized similar to other venues. See above Job request to be registered by user. |
| 14 | Engineering II 2.36 | Projection system and size of image/ placement of digital projector Quality of projection surface Placement of projection surface Issues with overhead projectors Visibility of writing/ projection surfaces Ventilation/ air-conditioning Noise Acoustics Sound system Student seating Compatibility of equipment This venue used to be a drawing hall and the whole layout is not suitable for teaching! The students cannot be seen or heard - the noise from the road is loud but the windows have to be open as there is no air-conditioning. Half the students are seated where they cannot see any projected images and the lighting and windows makes it worse. The venues have a data projector however the safe has a manual key instead of a digital lock. Perhaps the digital locks need to be standardized similar to other venues. See above There is no HVAC installed. Phillip Nel will discuss the planned future use of this venue with the chair of the School, Professor Meyer. If it will continue to be used as a lecture hall after the new complex has been built, technology solutions (plasma screens at staggered intervals) will be put in place to ensure that students throughout the venue have access to screens and HVAC to be added to capital request list. |
| 15 | Engineering II 2.37 | Projection system and size of image/ placement of digital projector Quality of projection surface Placement of projection surface Issues with overhead projectors Visibility of writing/ projection surfaces Ventilation/ air-conditioning Sound system Although the projector works, it can never be in focus for the whole screen. The image from the projector table is much too small for the size of the class and the quality of the projector is suspect. The air-conditioner is not functional for the shape of the venue. See above |
| 16 | Engineering II 3.24 | Projection system and size of image/ placement of digital projector Issues with overhead projectors Number of white/ chalk boards Placement of white/ chalk boards Visibility of writing/ projection surfaces Ventilation/ air-conditioning Noise Acoustics Sound system Student seating Compatibility of equipment The students cannot be seen or heard - the noise from the road is loud but the windows have to be open as there is no air-conditioning. Half the students are seated where they cannot see any projected images and the lecturer cannot see all the students. Seating on only two levels is problematic for large groups. See above |
| 17 | Engineering II 3.40 | Please see the image attached. I highlight the nails, I am almost sure that the nails do not meet OHSA standards? See above Nails rectified. |
| 18 | Engineering II 4.36 | Issues with overhead projectors Lighting and windows Availability of equipment Compatibility of equipment The overhead projector cannot be connected to the lecturer’s computer, necessitating the use of another projector, placed on the benches in the lecture room. See above The venue has same number of lights and windows as the rest in that wing. What is the real problem? Facilities to consult with client. |
| 19 | HSB All | Sound system Availability of equipment Compatibility of equipment Issues with overhead projectors (Old) Number of white/ chalk boards (Often no white boards) Ventilation/ air-conditioning Lighting and windows (No windows which is a problem when lighting and air con is poor) Availability of equipment (No lecterns!) Accessibility issues (Lifts incl 4th floor disabled lifts) No data projector or speakers! (Only HSB 4-7 has data projector but no sound) Have to book data projector and laptop from faculty and carry to venue for every lecture – cumbersome – if none are available you cannot do lecture as planned on powerpoint! If there is a break between classes – you have to pack up everything and carry back to your office for tea – so that it does not get stolen. After tea you have to carry everything back again??!! Not world class university facilities at all for world class university!! The Human Sciences building is targeted for cyclical upgrading in 2010. Work was begun in December 2009. All the smaller venues on the first floor that take about 30 students were upgraded. If digital projectors are required in these venues in addition to the other equipment, lecturers should consult with the Dean to make such a request. Four large lecture venues on the third floor have had a complete technology revamp. The main work will probably be done in June/ July and the whole upgrade should be completed in December 2010. Willie Scheepers of Facilities will address the lectern issue. Budgeted in 2010 to start work on upgrading of the HVAC control system. |
| 20 | HSB All | I support everything my colleagues have said about the venues and particularly the fact that the equipment that we are supposed to be using is non-existent in most lecture venues or faulty. It is not fair to assess lecturers on the basis of their use of media equipment in these circumstances and students do blame us when things are not working. Unfortunately I have a back problem and can't carry laptops and projectors to classrooms so I can never make use of this technology and always get negative feedback from students about this. When the lifts in the HSB aren't working my colleagues have had to carry the equipment up to the 11th and 12th floors, something I am not willing or able to do. This is frustrating to me because I would love to make use of Powerpoint presentations. It sometimes takes up to 3 weeks to arrange someone for Edutech to help you with something and then it’s often at a charge to our Department. I have given up trying to show students videos or dvds because either the machines aren't available or they don't work or we have to pay to use them. I have also given up trying to write on the blackboards or white boards because there is no chalk or markers available. There are some lecturers that walk around campus with a pencil case full of chalk, markers or batteries so that they can teach which is a very sad state of affairs. See above Education Technology (that now reports to ITS) has contact numbers in all the venues and a one-stop help desk so response times should be reasonably quick. Service is also available after hours. There are also contact numbers in all venues for Facilities maintenance people. After hours service is also available but might be a little slower as the people are not on campus. Budgeted in 2010 to start work on upgrading of the HVAC control system and replacing air handling equipment. Lights have been repaired. Seat related problems attended to. |
| 21 | HSB 4th floor | Ventilation/ air-conditioning Regular complaints received about all the lecture rooms on the 4th floor As a result of faulty air-conditioning, a lot of roof leaks appear in e.g. rooms 4-5, 4-6, 4-8, 4-6, 4-7, 4-8, 4-10 & 4-11 According to the Central OHSC budget was going to be requested to replace the existing air-conditioning. Not sure it this has been granted. Lighting and windows 3-monthly when doing inspection, report lights to be replaced. Reported on 26/10: 4-6: 5 lights 4-13: 2 lights 4-14: 2 lights 4-8: 2 lights 4-10: 2 lights 4-9: 2 lights 4-16: 2 lights Student seating Broken seats reported on 26/10: 4-7: 1 seat – 2nd row from back 4-14: 1 seat – 4th row from front 4-18: 1 seat – 4the row from back 4-11: 2 seats – 1 in back row & 1 in front row 4-10: 3 seats – 1 in front row & 2 in back row 4-9: 2 seats – 1 in front row & 1 in 2nd row from back 4-2: "Skaambord" in front row needs to be replaced (standing against wall in front of the room) I was told yesterday by Jan Pouwels that they check and fix seats once a year in December. Not sure if this is adequate/ acceptable. These are maintenance issues. A report is available and Facilities will follow up. Budgeted in 2010 to start work on upgrading of the control system and replacing air handling equipment. Lights have been repaired. Seat related problems attended to. |
| 22 | HSB 1.12 | Projection system and size of image/ placement of digital projector Quality of projection surface Ventilation/ air-conditioning Lighting and windows Sound system (None) Student seating See above |
| 23 | HSB 1.15 | Projection system and size of image/ placement of digital projector (There is no projection system) Quality of projection surface (Bad. At an angle to the class and small) Placement of projection surface (to one side of the room) Number of digital projectors (zero) Visibility of writing/ projection surfaces (Board ok, projection surface bad.) Ventilation/ air-conditioning (Always either too hot or too cold) Accessibility issues (Not wheelchair accessible, nor has the lecture hall place for a wheelchair) See above Budgeted in 2010 to start work on upgrading of the control system and replacing air handling equipment. |
| 24 | HSB 3.14 | Overhead projector malfunctions See above |
| 25 | HSB 3.15 | Availability of equipment All our lectures are done via PowerPoint. The lecture rooms mentioned have no such facilities and renting from Telematic is too expensive (56 lectures in total). We have to resort to making transparencies and revising these every year is very costly as well. All our Groenkloof lectures are done in the lecture halls with PowerPoint facilities. Our group sizes on Main Campus, however, are apparently too small to change the venue to one with PowerPoint facilities. What are the chances of upgrading these venues to have PowerPoint facilities or upgrading other venues to accommodate smaller lecture groups as well? See above Service requests recorded on 4 and 17 September and 11 November on HVAC system. Responded immediately. |
| 26 | HSB 3.23 | Availability of equipment No electricity in the rostrum of the venue Overhead projector malfunctions There is no projector in the venue making it very difficult for a lady to cart a laptop, usually test/assignments AND a projector to the venue! See above |
| 27 | HSB 4.2 | Number of digital projectors/ Issues with overhead projectors I had issues with the overhead projector a few times partially due to previous users of this lecture hall changing settings. This could have easily been solved if step by step instructions on how to use the overhead projector are placed somewhere where it is visible (not inside the safe). Ventilation/ air-conditioning For September and October the air conditioning system in this venue did not work and was never repaired even after reporting it several times. We lecture to classes of >250 students and it was extremely hot in this venue. There are no windows to open. The absence (or poor functioning of) air-conditioning makes it extremely difficult to lecture; students struggle to concentrate and many fan themselves (which is very disruptive and sometimes noisy). Sound system I had several problems with the sound system mostly due to the fact that the batteries were flat or that sound systems got switched between lecture halls. One of the reasons why microphones are switched is because the codes to the safe in the different lecture halls is most of the time the same. Response time of support services The response of support services was either not there or very slow. The numbers indicated in the lecture hall to call for support is the incorrect numbers and you get an answering machine most of the time if you call these numbers. If you do however phone the responsible person’s cell phone number, they responded quickly. Student seating This venue is too small for the number of first year students taking Criminology (yet we get this venue every year) and as a result the students have to sit on the floor – making teaching very difficult. See above Lindi Scott of ITS or a member of her staff will also consult with the client. ITS contact numbers for technology issues are regularly checked and the stickers replaced if they are damaged. If there is a problem with response, the lecturer should indicate this to the person in charge of the section. HVAC service requests recorded on 4 and 17 September and 11 November. Responded immediately. |
| 28 | HSB 4.5 | Availability of equipment All our lectures are done via PowerPoint. The lecture rooms mentioned have no such facilities and renting from Telematic is too expensive (56 lectures in total). We have to resort to making transparencies and revising these every year is very costly as well. All our Groenkloof lectures are done in the lecture halls with PowerPoint facilities. Our group sizes on Main Campus, however, are apparently too small to change the venue to one with PowerPoint facilities. What are the chances of upgrading these venues to have PowerPoint facilities or upgrading other venues to accommodate smaller lecture groups as well? See above |
| 29 | HSB 4.7 | Ventilation/ air-conditioning (Always too cold) Availability of equipment See above New sound system installed Budgeted in 2010 to start work on upgrading of the control system and replacing air handling equipment. |
| 30 | HSB 4.11 | Availability of equipment (No lectern) See above |
| 31 | HSB 4.13 | Quality of projection surface Pull down screen with a hook 8 feet off the floor and no hook to pull it down. Visibility of writing/ projection surfaces Board ok, projection surface bad because almost impossible to reach. Accessibility issues Not wheelchair accessible – the wheelchair ramp on the 4th floor is always broken. Almost no place in the lecture hall place for a wheelchair Response time of support services I am still waiting for a response on how to operate this hall’s data projector (been waiting 4 months) See above In addition, the venue was inspected by ITS in December and January |
| 32 | HSB 4.16 | Availability of equipment All our lectures are done via PowerPoint. The lecture rooms mentioned have no such facilities and renting from Telematic is too expensive (56 lectures in total). We have to resort to making transparencies and revising these every year is very costly as well. All our Groenkloof lectures are done in the lecture halls with PowerPoint facilities. Our group sizes on Main Campus, however, are apparently too small to change the venue to one with PowerPoint facilities. What are the chances of upgrading these venues to have PowerPoint facilities or upgrading other venues to accommodate smaller lecture groups as well? See above |
| 33 | HSB 4.21 | Sound system When we tested the digital projector that was installed in June 2009, we noticed that the sound system installation was not completed. Please, look into the matter as we want to play sociocultural DVDs in our foreign-language lectures next year. See above |
| 34 | HSB 4.151 | Student seating The seats here squeak maddeningly and continuously whenever a student makes the slightest movement. Can they be oiled? See above Oil is not a solution as it is the springs that squeak. |
| 35 | IT 2.24 | Issues with overhead projectors Request that the overhead projector please be moved so that lecturers can have space on both sides of the projector to work. Refer to position of projector in IT 2-25. Compatibility of equipment Lindi Scott of ITS or a member of her staff will address the issue with the client. |
| 36 | IT 2.26 | Projection system and size of image/ placement of digital projector Acoustics Sound system Projectors work, then don’t work. Better sound system needed for showing videos, etc. Mikes needed because acoustics are poor. Lindi Scott of ITS or a member of her staff will address the issue with the client. |
| 37 | IT 4.2 | Issues with overhead projectors Compatibility of equipment Lindi Scott of ITS or a member of her staff will address the issue with the client. |
| 38 | IT 4.3 | Issues with overhead projectors Compatibility of equipment Lindi Scott of ITS or a member of her staff will address the issue with the client. |
| 39 | Landbou 2.12 | Ventilasie/lugreëling Lugreëling buite werking Beligting en vensters Vensters maak moeilik oop Swart blinders voor die vensters kan nie opgetrek word nie Studente sitplekke The issues will be addressed in the short term but the whole Annex is also scheduled for upgrading in 2011. In the meantime, three venues on the ground floor have been equipped with new technology. |
| 40 | Louw and Roos Hall | Visibility of writing/ projection surfaces Ventilation/ air-conditioning I had problem with the overhead projector several times. Sometime it is the focus, sometime the projector itself. Attendants [ETAs] are not present all the time. I have to call the secretary to make a call to send someone. Usually it takes 10 minutes I do not see the temperature control. Several time students have complained that it is cold and unfortunately I could not change that. Microphone also has given me problems many times. There is a design issue with this older venue in that the ratio of the venue to the front wall is problematic for projection. It might be possible to take out the front three rows of seats and build a projection surface. Phillip Nel will consult with the client. HVAC is set at 22ºC. Every hall in Chancellors Building has a thermometer. When temperature rises above 24ºC or drops below 20ºC a job request should be opened at OneStop |
| 41 | Musaion 3.3 | Klankstelsel Daar is geen CD-speler wat vinnig kan reageer nie. Daar is wel ’n ander apparaat wat CD’s kan speel, maar dit neem te veel tyd voordat dit speel. Sodoende word die studente se aandag en belangstelling verloor. Older CD technology is no longer available. It has been replaced by DVD technology. There should not be more than a few seconds delay in the DVD machine reading the CD. MP3 formats would work better with the DVD technology if they were available. |
| 42 | Old Chemistry | Projeksiestelsel en grootte van beeld/Plasing van dataprojektor Akoestiek Aanpasbaarheid van toerusting Lindi Scott of ITS or one of her staff will consult with the client. |
| 43 | South Campus, Building 5, room 1-7 | Lighting and windows (first row of lighting impacting on projection) Noise (Music department across the road is very noisy) Wheel of lecturer’s desk came off Phillip Nel will consult with Professor Maritz. |
| 44 | South Campus, Building 5, room 1-8 | Projection system and size of image/ placement of digital projector Acoustics Sound system Door handle broken Phillip Nel will consult with Professor Maritz. |
| 45 | South Campus, Building 5, room 1-9 | Sound system Phillip Nel will consult with Professor Maritz. |
| 46 | South Campus, Building 5, room 2-23 | Noise Phillip Nel will consult with Professor Maritz. |
| 47 | South Hall | Visibility of writing/ projection surfaces Ventilation/ air-conditioning (Serious problem) Student seating Accessibility issues New HVAC was installed 12 months ago. No record of problems reported. |
| 48 | Sport Centre Springbok Hall | Placement of projection surface Visibility of writing/ projection surfaces Ventilation/ air-conditioning Noise Acoustics Student seating Smart Podiums where computer forms part of lecture podium and lecturers don’t have to bring own laptop, connect, cables etc Poor ventilation with no or non functioning air conditioning. Loud noise from cafeteria downstairs makes teaching difficult, made worse by the poor acoustics of the hall. Additionally loose tables and chairs often results in teaching time lost in organisation of chairs and tables Lindi Scott of ITS and Dawie Marais of Student Administration will address the issue of the use of the venue for lecturing. |
| 49 | Sport Centre 1 | Ventilation/ air-conditioning Student seating Issues with overhead projectors Smart Podiums where computer forms part of lecture podium and lecturers don’t have to bring own laptop, connect, cables etc Poor ventilation with an air conditioning which doesn’t work effectively. Many chairs in this venue are broken Ventilation of this facility is practically non-existent. When filled with students, it is intolerably hot, smelly and stuffy. Opening the door doesn’t help because no draft is created and noise from the foyer spills into the room. The air-conditioning system is also inadequate - even when the venue is only filled to half of its capacity. It has been requested that the air-con be set to a lower temperature, which has been done, but the room still remains unacceptably hot and stuffy. Lindi Scott of ITS and Dawie Marais of Student Administration will address the issue of the use of the venue for lecturing. |
| 50 | Sport Centre 2 | Ventilation/ air-conditioning Student seating Smart Podiums where computer forms part of lecture podium and lecturers don’t have to bring own laptop, connect, cables etc Poor ventilation with an air conditioning which doesn’t work effectively. Lindi Scott of ITS and Dawie Marais of Student Administration will address the issue of the use of the venue for lecturing. |
| 51 | Theology 1.25 | Availability of equipment (No lectern) Willie Scheepers of Facilities will address the lectern issue. |
| 52 | Theology 1.28 | Overhead projector malfunctions ITS will investigate the problem. |
| 53 | Theology 2.10 | Ventilasie/lugreëling Beligting en vensters Geraas This venue has no HVAC installed, only ventilation. Will be added to capital requirements list. |

Task team:

Wendy Kilfoil

Jakkie Pretorius

Phillip Nel

Dawie Marais

Education Innovation undertakes to make technology training videos or other resources available online for all lecturers who wish to learn how to use a smart podium or other technology in the lecture halls.

Design issues: Many of the buildings are old and some venues have been changed from their original functions into lecture halls. Some drawbacks can be solved creatively but others remain intractable. In some buildings, air-conditioning is designed for central control and cannot be regulated in individual venues.